CT-Perfusion protocols

All CT images were aquired using a second-generation dual-source 128-slice CT scanner (Somatom Definition Flash; Siemens Helathcare (SMS)

CTP was performed 10 minutes after standard 3-phase enhanced CT-protocol.

**50ml of iopromide**

**slice sickness of 3mm**

VPCT DynMulti 4D 3.0 B20f

SIEMENS

SOMATOM Definition Flash

HFS



